#### Chemical Hygiene and Housekeeping Auditing Form

#### Room________________ Date__________________ Inspected by _______________

| Safety equipment | Yes | No | N/A |
| --- | --- | --- | --- |
| Does the eyewash flushing log show the eyewash was flushed each cycle of laboratory use? |  |  |  |
| Is there a scissors located on or by the safety shower? |  |  |  |
| Is the fume hood clear of any materials or chemical wastes other than materials currently in use or chemical waste currently being collected? |  |  |  |
| Is there a chemical spill kit containing necessary materials readily accessible? |  |  |  |
| Are gloves available? |  |  |  |
| Is a First Aid Kit readily available? |  |  |  |
| Is a Bloodborne Pathogen Kit readily available for self-clean-up? |  |  |  |
| Is an unfilled biohazard sharps container present? |  |  |  |
| Is an unfilled glass disposal container present? |  |  |  |
| Is access to exits, eyewashes and emergency showers unobstructed? |  |  |  |
| Other comments: |  |  |  |
| Chemical Storage and Handling |  |  |  |
| Are the refrigerators clear of any food and beverages for human consumption? |  |  |  |
| Are all chemical containers labeled properly? |  |  |  |
| Are all reagents and chemical solutions stored appropriately? |  |  |  |
| If present, do containers of peroxide-forming chemicals (e.g. ethyl ether) have a container opening date recorded? |  |  |  |
| If peroxide-forming chemicals are present, are the dates of opening of peroxide-forming chemicals less than one year? |  |  |  |
| Are "Caution" signs posted where carcinogenic or level 4 acute hazard chemicals are used? |  |  |  |
| Are gas cylinders secure and stored appropriately? |  |  |  |
| Are spilled reagents and solutions present on the counters? |  |  |  |
| Other comments: |  |  |  |
| Waste management | Yes | No | N/A |
| Are volatile chemical wastes in screw-top containers no more than 3/4 full? (Plastic is preferred) |  |  |  |
| Are chemical wastes containers completely labeled? |  |  |  |
| Are chemical wastes less than one year old? |  |  |  |
| Is broken glass being disposed in the proper container |  |  |  |
| Are sharps disposed in the appropriate container? |  |  |  |
| Is used paper waste being disposed properly? |  |  |  |
| Are orange autoclave bags used for biohazardous waste? |  |  |  |
| Are orange bags submitted for autoclaving within one cycle of completion of the experiment? |  |  |  |
| Other comments: |  |  |  |
| Electrical equipment | Yes | No | N/A |
| Are they grounded? |  |  |  |
| Are cords in good condition? |  |  |  |
| Other comments: |  |  |  |